## Electric
Assumption | CWNS_No_1 | CWNS_No_2 | CWNS_No_3 | CWNS_No_4 | CWNS_No_5 | CWNS_No_6 | CWNS_No_7 | CWNS_No_8 | CWNS_No_9 | CWNS_No_10 | CWNS_No_11 | CWNS_No_12 | CWNS_No_13 | CWNS_No_14 | CWNS_No_15 | CWNS_No_16 | CWNS_No_17 | CWNS_No_18
Rate Schedule GSDT | 12000053001
Rate: Primary Voltage 2 (3-20 MW) | 48003033002
Rate 232: General Service - Large Demand | 31001825002
Rate 285 at Primary Voltage | 36001010001 | 36001010017 | 36001010006
Industrial Rate B-20 at Primary Voltage | 6005025001 | 6005053001 | 6002032003 | 6002036001 | 6002041001 | 6002121001
PDP charges ignored | 6005025001 | 6005053001 | 6002032003 | 6002036001 | 6002041001 | 6002121001
Rate: LPL-Primary | 34006012001 | 34001005001 | 34001030001 | 34001082001
Rate TOU-8 at 2-50 kV - Option E | 6004010004 | 6004009003 | 6008022001 | 6008022002 | 6004010001 | 6004009001
Service Class 9: Rate II - General - Large - Time-of-Day | 36002001007 | 36002001004 | 36002001006 | 36003169012 | 36002001010 | 36002001009 | 36002001005 | 36002001002 | 36002001003 | 36002001012 | 36002001001 | 36002001011
Rate: High Voltage General Service | 53001280001
GS-2-TOU | 32000200820 | 32000011001
Rate-PD (Primary Distribution Power) | 42000094003 | 42000094001 | 42000094002
Large rate category | 53000776002
Large Industrial Rate Schedule | 39001666001
Rate GP (General Service - Primary) | 39001666002 | 39000084001 | 39008260001 | 10000027001 | 34002065001
Rate Schedule: High Load Factor - TOU (2,000 kW or more) | 12000001001 | 12000017028 | 12000017027 | 12000017004
Rate Schedule TGSB (5-15 MW) | 47000940001 | 47000940002
Rate Class: Large Commercial (GSB) | 47000245002
LPL-TOU (Service Class 2: 2 to 50 kV) | 40000123012
LGS-3: Primary Service Rate | 32000011001
Schedule 89: Primary Voltage | 41000017001
Large General Service - Rate Schedule D4 | 26000596001 | 26004005011
Primary Voltage (Time-of-Day) | 29001023001 | 29001023002 | 27000001001
Pirmary > 10kW Non-IDR | 48004026002 | 48004026001 | 48000004001 | 48004122001
Schedule: Primary General (PG) | 8000070001
Rate Schedule: Large Primary | 42006056001
SCH 26 & 12: Primary - Large Demand General Service | 53000776001
Schedule GT 3A: Time Metered Primary Service | 11000001001
B7, G8 - Time of Use (< 10 kV) | 25000128001
Schedule GS-4: Large General Service @ Primary Voltage | 51000161001 | 51000154002
Schedule GS (Demand Metered Primary) | 39001792001 | 39001792002
Schedule LPS - Primary Voltage | 29001011001
General Primary Service - Time-of-Use (less than 12470 volts) | 55003100001
TODP: Time-of-Day Primary Service | 21000025001
Rate L: Large Power Service | 42005016001
CITP-4: C&I Primary 1000+ kW | 6005009001
Schedule A6-TOU - Primary (> 500 kW) | 6009031001
Standard Voltage (b/c primary had a minimum demand of 10 MW) | 31001825002
Live time-of-use pricing, so averaged PJM locational-marginal price with same granularity as underlying TOU rate structure | 42006056001 | 42000094003 | 42000094002 | 42000094001 | 42005016001 | 17000721009 | 17000721007 | 17000721001 | 34001082001 | 34002065001 | 34006012001 | 34001005001 | 34001030001
Live time-of-use pricing, so averaged NYISO locational marginal price with same granularity as underlying TOU rate structure | 36007136001 | 36008024001 | 36009071001 | 36002001007 | 36002001004 | 36002001006 | 36003169012 | 36002001010 | 36002001009 | 36002001005 | 36002001002 | 36002001003 | 36002001012 | 36002001001 | 36002001011 | 36001010001 | 36001010017 | 36001010006
Ignored peak hours shift with daylight savings | 9000641001 | 42006056001
Reactive charge ignored ($/kVAR) | 9000641001 | 51000161001 | 51000154002 | 39001666001 | 39001666002 | 39000084001 | 39008260001 | 39001792001 | 39001792002 | 29001023001 | 29001023002 | 53000776001 | 47001016001 | 6009031001
Regulatory, Delivery, or other charges in addition to Demand | 48003033002 | 9000641001 | 12000001001 | 12000017028 | 12000017027 | 12000017004 | 32000011001 | 32000200820 | 41000017001 | 24000001002 | 26000596001 | 26004005011
Ignored fuel adjustment clause as < $0.0005 / kWh | 29001011001
Charge limit ignored since it was a complex equation | 47000940001 | 47000940002 | 47000245002 | 26000596001 | 26004005011 | 29001011001 | 47001016001
Off-peak demand will no more than twice on-peak demand | 29001023001 | 29001023002 | 42006056001
Estimated that off-peak demand would be 1.5x on-peak demand | 26000596001 | 26004005011
Select 75% of off-peak demand or 100% of on-peak, whichever is greater | 39002093001
Measured demand is on-peak demand or 1/3 of off-peak demand | 10000027001
Billing demand is a function of winter and summer demand | 10000027001 | 13000012004
Middle of month rate changes assumed to occur at end of month | 10000027001 | 29001011001
System-wide coincident peak impossible to determine, so used facility maximum during peak hours instead | 6009031001
Rider GEN - Time of Day Option | 39000084001
Schedule EECC for generation | 6009031001
Service Classification No. 3: General Service (100 kW minimum) | 36008024001
Non-retail RG&E Supply Service (RSS) | 36008024001
Chose 12-month fixed-rate delivery service contract from open market due to ERCOT deregulation rules | 48004026002 | 48007039001 | 48004026001 | 48004122001 | 48000004001

## Gas
Assumption | CWNS_No_1 | CWNS_No_2 | CWNS_No_3 | CWNS_No_4 | CWNS_No_5 | CWNS_No_6 | CWNS_No_7
Large Volume Service (Cogeneration) | 29001023001 | 29001023002
Large General (SC-3) | 36007136001 | 36008024001 | 36009071001
Large Commercial (CLG) | 8000070001
Sch 31: Commercial and Industrial General Service | 53001280001 | 53000776001 | 53000776002
Rate Schedule No. 2A | 11000001001
Low Load Factor General Service Rate - Large (Classification No. G-43B) | 25000128001
Rate 321: General Standard Choice Offer Service | 39002093001
Large General Service (LGS) | 39001792001 | 39008260001 | 39001792002
Rate Schedule No. 303: Large General Sales Service - Firm | 47001016001
SC 4A-CNG | 36002001007 | 36002001006 | 36002001010 | 36002001009 | 36002001005 | 36002001003 | 36002001011
SC-2: General Firm Sales Service - Rate I | 36002001006 | 36002001002 | 36002001012 | 36002001001
34001005001
Schedule G-NR2 | 6002032003 | 6002041001 | 6002121001 | 6002036001 | 6005053001
Ratio of winter to summer gas usage is less than 2 | 36002001006 | 36002001002 | 36002001012 | 36002001001
Uses more than 3075 therms annually | 11000001001
Converted from cubic feet to therms | 39002093001 | 39001792001 | 39008260001 | 39001792002
Schedule GS-3 | 12000053001
Schedule GS-2 | 12000001001
Rate No. 35 - Cogeneration Service | 35000021001
General Gas Sales Service (GG) | 10000027001
Schedule 31 - Non-Residential Firm | 41000017001
Schedule GS-120K | 12000017027 | 12000017004
Schedule No. G-10 | 6008022001 | 6008022002 | 6004010001 | 6004009001
Schedule No. 55 - Large Industrial Service Rate | 15000003001
Service Classification No. 2 - General Firm Sales Service | 36003169012
Rate Schedule: I - Industrial Sales | 48004026002
Large Volume General Sales Service (LVGSS) | 39000084001
Firm Sales Service: Commercial/Industrial Class 4 | 55003100001
General Service - Rate GS (Industrial) | 42000094002
Schedule GN-3 | 6009031001
General Gas Delivery Service (G-11) | 13000012004
G-25: General Gas Service - Transportation Eligible | 4001318001
G-NR2 | 6005009001 | 6005025001 | 6002032003 | 6002036001 | 6002121001
50% of electricity use is produced by CHP | ALL
CHP uses 90% biogas, 10% natural gas | ALL
Ignore gas if no CHP | ALL